Competitive Enzyme Immunoassay Kit for

Quantitative Analysis of Zeranol

1. Background

Zearalenone is produced by natural fusarium, and the product of reduction of which is zeranol. Zeranol is a female hormone, which maintains secondary sexual characteristics and protein assimilation effect. It can be used for growth promotion  of animals besides therapy, especially in cattle. It is now being inhibited for growth promotion in many countries for the obvious carcinogenicity.

This kit is a new product based on ELISA technology, which is fast, easy, accurate and sensitive compared with common instrumental analysis and only needs 1.5 hours in one detection, so it can considerably minimize operation error and work intensity. It can be used for zeranol residue detection in urine, beef, milk and feed samples.

2. Test Principle

This kit is based on indirect-competitive ELISA technology. The microtiter wells are coated with coupling antigen. zeranol residue in the sample competes with the antigen coated on the microtiter plate for the antibody. After the addition of enzyme labeled anti-antibody, TMB substrate is used to show the color. Absorbance of the sample is negatively related to the zeranol reside in it, after comparing with the Standard Curve, multiplied by the Dilution factor, zeranol residue quantity in the sample can be calculated.

3. Applications

This kit can be used in quantitative and qualitative analysis of zeranol residue detection in feed, milk and urine samples.

4. Cross-reactions

zeranol ……………………………… 100%

β- zeranol …………………………… 36.3%

α- zeranol …………………………… 52.7%

β- zeranol …………………………… 0.67%

zearelone …………………………… 74.4%

zearalenone ………………………… 53.7%

diethylstilbestrol ……………………<0.1%

estradiol ……………………………………<0.1%

testosterone ………………………………<0.1%

Clenbuterol …………………………………<0.1%

Because of the high cross reactions, this kit can be used for determination of zeranol, β-zeranol, α-zeranol, zearelone and zearalenone.

5. Materials Required

5.1 Equipments:

┅┅Microtiter plate spectrophotometer (450nm/630nm)

┅┅Rotary evaporator or nitrogen drying instruments

┅┅Homogenizer or stamocher

┅┅Shaker

┅┅Gyroscope or vortex mixer

┅┅Centrifuge

┅┅Analytical balance (inductance: 0.01g)

┅┅Graduated pipette: 10ml

┅┅Rubber pipette bulb

-----Volumetric flask: 100ml , 500ml

┅┅Polystyrene centrifuge tubes: 2ml, 50ml

┅┅glass test tube：10ml

┅┅Micropipettes:20ul~200ul,100ul~10000ul, 250ul-multipipette

5.2 Reagents:

----acetonitrile (for feed sample) (AR)

----Sodium hydroxide (for feed sample) (AR)

----Chloroform (AR)

----N-hexane (AR)

---- phosphoric  acid  (for feed sample)

---- glucuronidase / aryl sulfatase (for urine sample)

----deionized water

6. Kit Components

1、Microtiter plate with 96 wells coated with coupling antigen

2、Standard solutions(6 bottles,1ml/bottle)

0ppb, 0.1 ppb, 0.2ppb, 0.4 ppb, 0.8 ppb, 1.6 ppb

3、High concentration standard control:(1ml/bottle)  1 ppm

4.Enzyme-labeled secondary antibody solution 12ml…red cap

5、Antibody solution(7ml)……………green cap

6、Solution A 7ml ……………………white cap

7、Solution B 7ml ………………………red cap

8、Stop solution 7ml ……………………yellow cap

9.20×Concentrated wash solution 40ml… transparent cap

10、2×Concentrated extraction solution 50ml…… blue cap

7. Reagents Preparation:

Solution 1: 0.01M sodium hydroxide solution (for feed sample)

Dissolve 0.4g sodium hydroxide with deionized water and dilute to 100ml ;

Solution 2: 1M sodium hydroxide solution (for feed sample)

Dissolve 4g sodium hydroxide with deionized water and dilute to 100ml ;

Solution 3: acetonitrile -0.1M sodium hydroxide solution (for feed sample)

Take 90 ml acetonitrile and mix with 10ml 0.1M sodium hydroxide solution;

Solution 4: 6M phosphoric acid buffer solution (for feed sample)

Take 100ml 85% concentrated phosphoric acid, then add 150ml deionized water, mix completely.

Solution 5: Extraction solution

Dilute 2×concentrated extraction solution with deionized water in the volume ratio of 1:1, which will be used for sample extraction.

8. Sample Preparations

8.1 Notice and precautions for the users before operation:

(a) Please use one-off tips in the process of experiment, and change the tips when absorbing different reagent.

(b) Make sure that all experimental instruments are clean.

8.2 Feed sample

---- Homogenize the feed sample with homogenizer ;

----Weigh 2.0g of the homogenate , add 10ml acetonitrile-0.1M NaOH solution, shake for 10min, centrifuge at room temperature for 10min, at least 3000g

----Take 1ml of the supernate , and dry with 50℃ nitrogen gas flow;

----Dissolve the dry leftover with 0.5ml chloroform, add 2ml 1M NaOH solution, shake for 5min , centrifuge at room temperature for 10min, at least 3000g;

----Take 1ml of the supernate, add 100(l 6M H3PO4( regulate the pH to 6.5), then add 5ml chloroform, shake for 10min, centrifuge at room temperature for 10min, at least 3000g, take 2.5ml of the substrate organic phase and dry with 50℃ nitrogen gas flow ;

----Take 1ml diluted extraction solution to dissolve the dry leftover , then dilute the sample solution with extraction solution in the volume ratio of 1:9 (450(l diluted extraction solution +50(l sample solution);

----Take 50(l of the prepared solution for assay .

8.3 Urine sample

----Take 2ml urine sample into a centrifuge tube, centrifuge at room temperature for 10min, at least 3000g until it is transparent ;

----Take 1ml of the transparent urine sample into a centrifuge tube, add 10(l Glucuronidase/ Arylsulfatase , keep in 37℃water bath for 3h, then add 5ml chloroform , shake for 10min, centrifuge at room temperature for 10min, at least 3000g, take 2.5ml of the substrate organic phase and dry with 50℃ nitrogen gas flow;

----Dissolve the dry leftover with 1ml diluted extraction solution;

----Take 50(l of the dissolved sample solution, and dilute with extraction solution in the volume ratio of 1:4 (50(l sample solution +200(l extraction solution);

----Take 50(l of the prepared solution for assay .

8.4 Milk sample

----Take 1ml fresh milk sample, then add 8μl Glucuronidase/ Arylsulfatase, incubate at 37℃ for 2h;

----Take 25μl of the sample solution and dilute with 975μl extraction solution;

----Take 50(l of the prepared solution for assay .

8.5 Beef sample

----Weigh 1.0g±0.1g sample, add 2ml deionized water, then add 8μl Glucuronidase/ Arylsulfatase, mix completely, incubate at 37℃ for 2h ;

----Take out ,then add 8ml acetonitrile, shake for 10min, centrifuge for 5min , at least 3000g;

----Take 5ml  of the supernate, add  2ml chloroform and 6ml n-hexane, whorl for 10min, centrifuge for 5min , at least 3000g;

----Remove the supernatant n-hexane, take the middle-level phase and dry ;

----Dissolve the dry leftover with 1ml extraction solution, take out 200μl and mix with 800μl extraction solution;

----Take 50(l of the prepared solution for assay .

9. Assay process

9.1 Notice before assay:

9.1.1 Make sure all reagents and microwells are all at room temperature (20-25℃).

9.1.2 Return all the rest reagents to 2～8℃ immediately after used.

9.1.3 Washing the microwells correctly is an important step in the process of assay; it is the vital factor to the reproducibility of the ELISA analysis.

9.1.4 Avoid the light and cover the microwells during incubation.

9.2 Assay Steps:

9.2.1 Take all reagents out at room temperature (20-25℃) for more than 30min, homogenize before use.

9.2.2 Get the microwells needed out and return the rest into the zip-lock bag at 2-8℃ immediately.

9.2.3 Solution preparation: dilute the 40ml concentrated wash solution with deionized water to 800ml (or according to your requirement),The diluted wash solution  can be conserved for 1month at 4℃ , and it need to be rewarmed to room temperature before use.

9.2.4 Number: Numbered every microwell positions and all standards and samples should be run in duplicate. Record the standards and samples positions.

9.2.5 Add standard solution/sample: Add 50 µl of standard solution or prepared sample to corresponding wells. Add 50µl antibody solution. Mix gently by rocking the plate manually and incubate for 30min at 37℃ with cover.

9.2.6 Wash: Remove the cover gently and pure the liquid out of the wells and rinse the microwells with 250µl diluted wash solution at interval of 10s for 4~5 times. Absorb the residual water with absorbent paper (the rest air bubble can be eliminated with unused tip).

9.2.7 Add Enzyme-labeled secondary antibody 100(l to each well, Mix gently by rocking the plate manually and incubate for 30min at 37℃ with cover. Repeat the wash step again.

9.2.8 Coloration: Add 50µl solution A and 50µl solution B to each well. Mix gently by rocking the plate manually and incubate for 15min at 37℃ with cover.

9.2.9 Measure: Add 50µl the stop solution to each well. Mix gently by rocking the plate manually and measure the absorbance at 450nm against an air blank (It’s suggested measure with the dual-wavelength of 450/630nm. Read the result within 5min after addition of stop solution. ) (We can also measure by sight without stop solution in short of the ELIASA instrument).

10. Results

There are 2 different methods to determinate the results. Method 1 leads to a round estimation, and method 2 leads to definite quantity estimation. (Please notice: the absorption is inversely proportional to the Zeranol concentration in the sample.)

10.1 Round estimation

We can get the range of different strengths from the compare of average absorption and standards by sight. For example, the absorption of sample 1 is 0.6, sample 2 is 1.0, and the absorptions of Zeranol standard solutions: 1.500 (0ppb); 1.380(0.1ppb);1.200(0.2ppb); 0.900(0.4ppb); 0.700(0.8ppb); 0.400(1.6ppb). So we can say the strength of diluted sample 1 is between 0.8ppb and 1.6ppb; and diluted sample 2 between 0.2ppb to 0.4ppb. In order to obtain the Zeranol actually contained in a sample, the diluted sample results must be further multiplied by the corresponding Dilution factor.

10.2 Definite quantity estimation

(1) The mean values of the absorbance values obtained for the standards and the samples are divided by the absorbance value of the first standard (zero standard ) and multiplied by 100%. The zero standard is thus made equal to 100% and the absorbance values are quoted in percentages.

B

Absorbance (%) = —— ×100%

B0

B ——absorbance standard (or sample)

B0 ——absorbance zero standard

(2) To draw a standard curve: Take the absorbance value of standards as y-axis, semi logarithmic of the concentration of the Zeranol standards solution (ppb) as x-axis.

--- The Zeranol concentration of each sample (ppb), which can be read from the calibration curve, is multiplied by the corresponding Dilution factor of each sample followed, and the actual concentration of sample is obtained.

Please notice:

For evaluation of the ELISA kits special software has been developed for exact and rapid analysis. The analysis software can be ordered on request.

Sample dilution multiple ：

Feed sample: 200

Urine sample : 10

Milk sample : 40

Beef sample : 10

11. Sensitivity, accuracy and precision

Test Sensitivity:0.1ppb

Detection limit:

feed……………………………………… 10ppb

urine……………………………………… 0.5ppb

milk…………………………………………2ppb

beef………………………………………0.5ppb

Accuracy:

urine …………………………………… 75±15%

feed ……………………………………80±20%

beef …………………………………… 80±20%

milk …………………………………… 75±15%

Precision:

Variation coefficient of the ELISA kit is less than 10%.

12. Notice

12.1 The mean values of the absorbance values obtained for the standards and the samples will be reduced if the reagents and samples have not been regulated to room temperature (20-25℃).

12.2 Do not allow microwells to dry between steps to avoid unsuccessful reproducibility and operate the next step immediately after tap the microwells holder.

12.3. Homogenize each reagent before using.

12.4. Keep your skin away from the stop solution for it is the 2M H2SO4 solution.

12.5 Don’t use the kits out of date. Don’t exchange the reagents of different batches, or else it will drop the sensitivity.

12.6 Storage condition:

Keep the ELISA kits at 2-8℃,do not freeze. Seal rest microwell plates, Avoid straight sunlight during all incubations. Covering the microtiter plates is recommended.

12.7 Indications for the reagents going bad:

Substrate solution should be abandoned if it turns colors.

The reagents may be turn bad if the absorbance value (450/630nm) of the zero standard is less than 0.5(A450nm＜0.5).

12.8 The coloration reaction needs 15min after the addition of solution A and solution B; But you can prolong the incubation time if the color is too light to be determined., never exceed 30min,On the contrary, shorten the incubation time properly.

12.9 The optimal reaction temperature is 37℃. Higher or lower temperature will lead to the changes of sensitivity and absorbance values.

13. Storage condition and storage period

Storage condition: 2-8℃.

Storage period: 6 months.