# YK010 Rat C-Peptide EIA

This enzyme immunoassay (EIA) kit is a stable and convenient assay system for rat C-peptide in its plasma, serum, urine and culture supernatant The processing of proinsulin, which occurs within the B cell, yields insulin and C-peptide and insulin and C-peptide are secreted in equimolar quantities into blood circulation. Therefore, the measurement of C-peptide in blood reflects the concentration of insulin and also provides valuable information to

evaluate the pancreatic B cell function.

The EIA kit is using synthetic rat C-Peptide I as standard and biotinylated rat C-Peptide I as labelled antigen. The kit contains specific polyclonal antibody (C-peptide antibody) recognized to the amino acid sequence in the C-terminal side region which are common between rat C-Peptide I and II.

YK010 Rat C-Peptide EIA Kit 	Contents

▼ 	The assay kit can measure C-Peptide in the range of 	1) Antibody coated plate

1.56-50 ng/mL 	2) C-Peptide standard

▼ 	The assay completed within 5.5 hours 	3) Labeled antigen

▼ 	With one assay kit, 41samples can be measured 	4) C-Peptide antibody

in duplicate 	5) SA-HRP solution

▼ 	Test sample:	6) Substrate buffer

Culture supernatant, plasma, serum and urine	7) OPD tablet

Sample volume: 50 μL	8) Stopping solution

▼ 	The 96-well plate in kit was consisted by 	9) Buffer solution

8-wells strips. The kit can be used separately.	10) Washing solution (concentrated)

▼ 	Intra-assay CV（％） 3.38 - 8.83	11) Adhesive foil

Inter-assay CV（％） 5.56 - 8.41

▼ 	Stability and Storage

Store all of the components at 2-8℃.

24 months from the date of manufacturing.

The expiry date is described on the label of kit.

< Specificity >

The EIA kit has high specificity to rat C-Peptide and shows no cross reactivity to human and other animal species.

＜Analytical recovery＞

102.2-106.9 %