# YK080 Human PYY EIA Kit

This enzyme immunoassay (EIA) kit is a stable and convenient assay system for human peptide YY

(PYY). PYY was isolated initially by Tatemoto et al. (1980 ) from the extract of pig duodenum and shown to be a polypeptide consisting of 36 amino acids residues. PYY is homologous to pancreatic polypeptide (PP) and neuropeptide Y (NPY). PYY is localized mainly in endocrine cells in the intestine (ileum, colon, and rectum). PYY shows an inhibitory action on contraction of the gastrointestinal tract and on secretion of pancreatic and gastric juice. PYY is released by taking diet. The PYY level in human blood decreases after resection of the intestine, possibly be due to the decrease in number of the endocrine cells secreting PYY.

The EIA kit is prepared by using synthetic human PYY as standard and biotinylated human PYY as

labeled antigen. The kit contains specific polyclonal antibody recognized to the amino acid sequence in the central portion of human PYY.

YK080 Human PYY EIA Kit 	Contents

▼ 	The assay kit can measure Human PYY in the 	1) Antibody coated plate

range of 50-10000 pg/mL 	2) Human PYY standard

▼ 	The assay completes within 16-20 + 2.5 hours 	3) Labeled antigen

▼ 	With one assay kit, 40 samples can be measured 	4) PYY antibody

in duplicate	5) SA-HRP solution

▼ 	Test sample: human plasma 	6) Substrate buffer

Sample volume 25 μL	7) OPD tablet

▼ 	The 96-well plate in kit was consisted by 	8) Stopping solution

8-wells strips. The kit can be used separately. 	9) Buffer solution

▼ 	Human plasma measurement 	10) Washing solution

Intra-assay CV(%) 11.23-14.52 	11) Adhesive foil

Inter-assay CV(%) 11.92-15.26

▼ 	Stability and Storage

Store all of the components at 2-8°C.

6 months from the date of manufacturing.

The expiry date is described on the label of kit.

< Specificity>

The EIA kit is specificity for human PYY, shows 1% cross reactivity to rat PYY and less than 0.01% cross reactivity to human and rat NPY, which have similar amino acid sequence with human PYY.

<Analytical recovery>

Human plasma 90.78-106.70%