# YK160 GLP-1 EIA Kit

GLP-1 is a peptide hormone from the intestinal mucosa, which is produced from its precursor,

proglucagon by post transnational processing. The mammalian proglucagon is synthesized in the

neuroendocrine L-cell of the intestine and the alpha-cells of the pancreas. It contains within its structure the sequences of glucagon and two glucagon-like peptides (GLP-1 and GLP-2) in tandem flanked at their amino and carboxyl termini by dibasic residues. GLP-1 is a 37 amino acids peptide and produced in the small intestine and in the pancreas in the human, in either C-terminal-amidated on glycine-extended form. GLP1 (7-36) amide and its receptor are present in several brain regions and may play a role in the physiological control of feeding. Several reports have been presented as follows as to the biological activities of GLP-1. GLP-1 (7-37) and (7-36) amide is known as one of the most potent insulin secretagogues.

Yanaihara Institute Inc. developed a quantitative EIA kit with high specificity and sensitivity

(detection limit 0.206ng/mL) for rat/mouse/human GLP-1 (YK160) as a useful tool for these necessaries.

YK160 GLP-1 EIA Kit 	Contents

▼ 	The assay kit can measure Rat, Mouse&Human 	1) Antibody coated plate

GLP-1 in the range of 0.206 - 50 ng/mL. 	2) GLP-1 standard

▼ 	The assay completes within 16-18 hr.＋1.5 hr. 	3) Labeled antigen

▼ 	With one assay kit, 41 samples can be measured 	4) GLP-1 antibody

in duplicate. 	5) SA-HRP

▼ 	Test sample: plasma (rat/mouse/human)	6) Diluent for SA-HRP

Sample volume: 30 μL	7) Substrate buffer

▼ 	The 96-well plate in kit was consisted by 	8) OPD tablet

8-wells strips. The kit can be used separately. 	9) Stopping solution

▼ 	Precision and reproducibility	10) Buffer solution

(Rat plasma)	11) Washing solution (concentrated)

Intra-assay CV（％） 5.36 - 6.60	12) Adhesive foil

Inter-assay CV（％） 5.51 -18.87

(Human plasma)

Intra-assay CV（％） 4.69 -10.67

Inter-assay CV（％） 9.63 - 17.57

▼ 	Stability and Storage

Store all of the components at 2-8°C.

12 months from the date of manufacturing.

The expiry date is described on the label of kit.

< Specificity >

The EIA kit has high specificity to rat/mouse/human GLP-1 and shows cross reactivity neither

rat/human/mouse glucagons, human glicentin nor rat/mouse/human GLP-2.

<Analytical recovery>

Rat plasma 89.20-110.4%, Human plasma 86.0-101.7%