Competitive enzyme immunoassay Kit for

Quantitative analysis of Chloramphenicol (Type II)

1. Background

Chloramphenicol (CAP) is a broad spectrum antibiotic which is frequently employed in animal product for its excellent antibacterial and pharmacokinetic properties. However, in humans it leads to hematotoxic side effects. It can cause human aplastic anaemia and agranulocytopenia, thus it has been banned or restrictively used in EU and US.

This kit is a new product based on ELISA technology, which is fast (only 1.5 hours in one operation), easy, accurate and sensitive compared with common instrumental analysis, and so it can considerably minimize operation error and work intensity. This kit has been documented in Doc. 558 of Ministry of Agriculture (China, PRC).

2. Test Principle

This ELISA kit is designed to detect chloramphenicol based on the principle of “indirect-competitive” enzyme immunoassay. The microtiter wells are coated with capture BSA-linked antigen. Chloramphenicol in the sample competes with the horseradish peroxidase labeled chloramphenicol (enzyme-labeled antigen) for binding to the limited number of antibody sites on the microtiter plate. After the addition of a ready-to-use tetramethyl-benzidine (TMB)/peroxide substrate the signal is measured in an ELISA photometer. The absorption is inversely proportional to the chloramphenicol concentration in the sample.

3. Applications

This kit can be used in quantitative and qualitative analysis of CAP residue in animal tissue (muscle and liver), urine, serum , casing and milk.

4. Cross-reactions

CAP…………………………………………100%

Chloramphenicol Palmitate…………………<0.1%

thiamphenicol………………………………<0.1%

Florfenicol………………………………<0.1%

Cetofenicol…………………………<0.1%

5. Materials Required

5.1 Equipments:

---- Microtiter plate spectrophotometer (450nm/630nm)

┅┅Rotary Evaporator/Nitrogen drying instrument

┅┅Homogenizer or stamocher

┅┅Shaker

┅┅Gyroscope  or vortex mixer

┅┅Centrifuge

┅┅Analytical balance (inductance: 0.01g)

┅┅Graduated pipette: 10ml

┅┅Rubber pipette bulb

┅┅volumetric flask：100ml、500ml

┅┅glass test tube：10ml

┅┅Polystyrene Centrifuge tube：10ml、15ml、50ml

┅┅Micropipettes：20(l～200(l、100(l～1000(l

250ul-multipipette

5.2 Reagents:

┅┅ethyl acetate (AR)

┅┅acetonitrile (AR)

┅┅n-hexane (AR)

┅┅sodium nitroferricyanide (AR)( for milk sample )

┅┅zinc sulfate (AR) ( for milk sample )

┅┅glucuronidase (Merck,Art.No.4114) (for urine sample)

┅┅sodium acetate (AR) (for urine sample)

┅┅acetic acid (AR) (for urine sample)

----deionized water

6. Kit Components

1、Microtiter plate with 96 wells coated with coupling antigen

2、Standard solutions(6 bottles×2ml/bottle)

0ppb,0.05ppb,0.15ppb,0.45ppb,1.35ppb,4.05ppb

3、high concentration standard solution：(2ml/bottle) 100ppb

4、enzyme-labeled secondary antibody solution 12ml… red cap

5、concentrated antibody solution  7ml … green cap

6、Solution A 7ml …………………white cap

7、Solution B 7ml …………………red cap

8、stop solution 7ml ……………… yellow cap

9.20×concentrated wash solution 40ml…transparent cap

10.2×concentrated extraction solution  50ml ……blue cap

7. Reagents Preparation:

Solution 1:  Solution C ( for milk sample)

0.36M sodium nitroferricyanide solution (Na2Fe(CN)5·NO·2H2O):

Weigh 10.7g sodium nitroferricyanide heptahydrate and dissolve with deionized water to 100ml.

Solution 2: Solution D ( for milk sample)

1M  ZnSO4·7H2O solution

Weigh 28.8g zinc sulfate and dissolve with deionized water to 100ml.

Solution 3: pH4.8 100mM sodium acetate solution ( for urine sample)

Weigh  2.4g sodium acetate, add 1.2ml acetic acid, then dilute to 500ml with deionized water.

Solution 4: acetonitrile solution

Mix 84ml anhydrous acetonitrile with 16ml deionized water.

Solution 5: extraction solution:

Dilute the concentrate extraction solution  with deionized water in the volume ratio of 1:1 (or according to the requirement), which will be used for diluting the concentrated antibody solution and sample extraction. The diluted extraction solution can be conserved for 1 month at 4℃.

Solution 6: wash solution

Dilute the concentrate wash solution  with deionized water in the volume ratio of 1:19(or according to the requirement), which will be used to rinse the plate. The diluted wash solution can be conserved for 1 month at 4℃.

8. Sample Preparations

8.1 Notice and precautions for the users before operation:

(a) Please use one-off tips in the process of experiment, and change the tips when absorb different reagent.

(b) Make sure that all experimental tools are clean.

(c) If blank control is taken, then subtract the test result of the blank control from the test result of sample, the real quantity of CAP residue in sample is obtained.

Preparations of Blank control of tissue sample:

┅┅Dry 4ml ethyl acetate completely with nitrogen gas flow;

┅┅Then Dissolve the leftover with 1ml n-hexane;

┅┅Add 1ml extraction solution (see solution 5),shake for 1ml fiercely, keep steady till the liquid delamination, then remove the supernatant n-hexane phase;

┅┅Take100(l of the prepared solution for assay.

(d) Keep untreated sample in freeze.

(e)  Treated samples can be conserved at 2-8℃ for 24h, it’s better to keep the dry samples (before adding n-hexane) .

(f) remove part of the supernatant organic phase if the treated sample become emulsified, and keep in 60℃ water bath for 5~10min to eliminate the emulsion, then repeat the centrifuge step.

8.2  Tissue (chicken/chicken liver, pork/pig liver, shrimp and fish etc.):

┅┅Homogenize the tissue sample with homogenizer or stamocher;

┅┅Weigh 3.0±0.05g homogenate in to a 50ml polystyrene centrifuge tube, then add 6ml ethyl acetate, shake for 10min with shaker, then centrifuge for 10min at room temperature (20~25℃), at least 3000g;

┅┅Transfer 4ml of the supernatant organic phase(equal to 2g sample) into a 10ml clean glass test tube, dry with 50～60℃ water bath nitrogen gas flow;

┅┅Add 1ml n-hexane, whorl for 30s with gyroscope  or vortex mixer, then add 1ml extraction solution(see solution 5), whorl for 1min, then centrifuge for 15min at room temperature (20-25℃) ,at least  3000g;

┅┅Remove the supernatant organic phase, take 100(l of the substrate phase for assay;

Notice: Add 1ml n-hexane to dissolve the dry leftover when detect animal liver sample, then add 1ml extraction solution, shake for 10s, centrifuge and take the substrate phase for assay; Increase the volume of n-hexane to 2ml~3ml when detecting samples high in fat.

8.3 Chicken blood:

┅┅Collect the chicken blood samples with centrifuge tubes which have heparin sodium in them(20~30u/ml blood), (It is suggested that the injectors  are washed with heparin sodium), keep the blood samples steady at room temperature for 1h, after the plasma separate out, centrifuge at 15℃ for 10min, at least 3000g ;

┅┅Transfer 1ml plasma into a 10ml polystyrene centrifuge tube, add 2ml ethyl acetate and shake for 1min;

┅┅Keep steady at room temperature (20-25℃) till the water phase and organic phase are separated, or centrifuge at room temperature (20-25℃)  for 5min, at least 3000g.

┅┅Transfer the supernatant organic phase into a 15ml clean glass test tube, dry with 50～60℃ nitrogen gas flow;

┅┅Dissolve the dry leftover with 1ml extraction solution(see solution 5), whorl for 2min with gyroscope  or vortex mixer to dissolve completely.

┅┅Take 100(l of the prepared solution for assay.

8.4 Urine sample

┅┅Centrifuge the urine sample at room temperature (20-25℃) for 5min, at least 3000g till the urine is transparent;

┅┅Transfer 2ml of the transparent urine sample into a 50ml polystyrene centrifuge tube, add 0.5ml pH4.8 100mM sodium acetate solution(see solution 3),mix completely;

┅┅ Add 40(l glucuronidase (Merck,Art.No.4114) into diluted urine sample, keep at 37℃ for at least 2h(or over night) to hydrolyze, then take out at room temperature(20-25℃);

┅┅Add 8ml ethyl acetate into the sample solution after it returns to room temperature (20-25℃),mix for 1min;

┅┅Centrifuge at room temperature(20-25℃) for 10min, at least 3000g, take 4ml of the supernatant liquid into a 10ml dry glass test tube, dry with 50～60℃ nitrogen gas flow;

┅┅Add 1ml extraction solution (see solution 5), whorl for 2min to dissolve the dry leftover;

┅┅Take 100(l of the prepared solution for assay.

8.5Casing sample:

┅┅Homogenize the sample with homogenizer or stamocher;

Note: cut the dry samples into pieces before homogenize(the length is less than 5mm), rinse the wet samples with deionized water for 20min( to remove the exterior salt), homogenize after it is dried.

┅┅Weigh 1.0±0.05 g of the homogenate into a 50ml polystyrene centrifuge tube, add 10ml ethyl acetate, shake for 10min, centrifuge at room temperature(20-25℃) for 10min, at least 3000g;

┅┅Take 5ml of the supernatant organic phase(equal to 0.5g sample) into a 10ml clean glass test tube, dry with 50～60℃ water bath nitrogen gas flow;

┅┅Add 1 ml n-hexane, whorl for 30s, then add 0.5ml extraction solution(see solution 5), shake fiercely for 1min, then centrifuge at room temperature(20-25℃) for 5min, at least 3000g;

┅┅Remove the supernatant organic phase, take 100(l of the substrate phase for assay;

8.6  Milk and milk powder sample:

8.6.1 milk sample:

Method (a) (milk sample):

┅┅take the milk sample, and centrifuge at 10℃ for 10min, at east 3000g, remove the supernatant fat;

┅┅Take 5ml of the prepared milk sample into a 10ml polystyrene centrifuge tube, add 150(l solution C(see solution 1),the deposition appears, then shake for 15s, add 150(l solution D(see solution 2), shake for 1min to mix completely;

┅┅ Centrifuge at 15℃ for 10min, at least 3000g,take the supernate;

┅┅ Dilute the supernate with extraction solution(see solution 5) in the volume ration of 1:1;

┅┅Take 100(l of the prepared solution for assay.

Note: repeat degreasing if the sample solution is still muddy after centrifuge;

Method (b) (milk sample):

┅┅take the milk sample, and centrifuge at 10℃ for 10min, at east 3000g, remove the supernatant fat;

┅┅Take 5ml of the prepared milk sample into a 10ml polystyrene centrifuge tube, add 250(l solution C(see solution 1) and 250(l solution D(see solution 2),shake completely, Centrifuge at 4～12℃ for 10min, at least 3000g (please cool the samples to 8℃ then centrifuge if there is no refrigerated centrifuge);

┅┅ Transfer 2.2ml supernate (equal to 2ml milk sample) into a 10ml polystyrene centrifuge tube, add 4ml ethyl acetate and shake for 10min;

┅┅Centrifuge at room temperature(20-25℃) for 10min, at least 3000g,

┅┅take 2ml of the supernatant organic phase(equal to 1g sample) into a 10ml glass tube, dry with 50～60℃ water bath nitrogen gas flow;

┅┅Add 0.5ml extraction solution(see solution 5), whorl for 2min to dissolve the dry leftover;

┅┅Take 100(l of the prepared solution for assay.

Note: 0.15 ppb is recommended as the cut off value of negative samples for it may induce background interference( the interference value is between 2 and 3 under some situation).

8.6.2 Milk powder sample:

┅┅Weigh 2.0±0.05g milk powder into a 10ml polystyrene centrifuge tube, add 10ml deionized water, shake to dissolve it;

┅┅Add 1ml Solution C(see solution 1) and  1ml  Solution D (see solution 2) ,mix completely, Centrifuge at 4-12℃ for 10min, at least 3000g,(please cool the samples to 8℃ then centrifuge if there is no refrigerated centrifuge);

┅┅Transfer 3.6ml supernate(equal to 0.6g milk powder) into another 10ml polystyrene centrifuge tube, add 6ml ethyl acetate and shake for 10min;

┅┅Centrifuge at room temperature( 20-25℃) for 10min, at least 3000g;

┅┅Take 4ml of the supernatant organic phase (equal to 0.4g milk powder) into a 10ml clean glass tube, dry with 50～60℃ water bath nitrogen gas flow;

┅┅Dissolve the dry leftover with 0.4ml extraction solution, whorl for 2min to dissolve completely

┅┅take 100(l of the prepared solution for assay.

Note: 0.15 ppb is recommended as the cut off value of negative samples for it may induce background interference( the interference value is between 2 and 3 under some situation).

8.7 egg sample:

┅┅Homogenize the egg sample at low speed with homogenizer or stamocher to mix the egg white and yolk completely;

┅┅ Weigh 3.0±0.05g homogenized egg sample into a 15ml polystyrene centrifuge tube, add 9ml acetonitrile solution(see solution 4), shake for 10min, centrifuge at 15℃ for 10min, at least 3000g;

┅┅Take 3ml of the supernate ,mix with 3ml distilled water, add  4.5ml ethyl acetate, mix completely for 5min, centrifuge at 15℃ for 10min, at least 3000g;

┅┅Transfer the supernatant organic phase into a 10ml clean glass tube, dry with 50～60℃ water bath nitrogen gas flow;

┅┅Add 1ml n-hexane, whorl for 30s with gyroscope  or vortex mixer, add 2ml extraction solution (see solution 5), whorl for 1min, then centrifuge for 5min, at least 3000g;

┅┅Remove the supernatant organic phase, take 100(l of the prepared solution for assay.

9. Assay steps:

9.1 Notice before assay:

9.1.1 Make sure all reagents and microwells are all at room temperature (20-25℃).

9.1.2 Return all the rest reagents to 2～8℃ immediately after used.

9.1.3 Washing the microwells correctly is an important step in the process of assay; it is the vital factor to the reproducibility of the ELISA analysis.

9.1.4 Avoid the light and cover the microwells during incubation.

9.2 Assay Steps:

9.2.1 Take all reagents out at room temperature (20-25℃) for more than 30min, homogenize before use.

9.2.2 Get the microwells needed out and return the rest into the zip-lock bag at 2-8℃ immediately.

9.2.3 all reagents should be rewarmed before use.

9.2.4 Number: Number every microwell position and all standards and samples should be run in duplicate. Record the standards and samples positions.

9.2.5 Add standard solution/sample: Add 50µl of standard solution or prepared sample to corresponding wells. add 50µl antibody solution to each well, and then mix gently by shaking the plate manually and incubate for 30min at 25℃ with cover.

9.2.6 Wash: Remove the cover gently and pure the liquid out of the wells and rinse the microwells with 250µl diluted wash solution(see solution 6) at interval of 10s for 4~5 times. Absorb the residual water with absorbent paper.

9.2.7 Add enzyme-labeled secondary antibody solution : add 100(l enzyme-labeled secondary antibody solution to each well, shake gently, then incubate for 30min at 25℃ with cover, repeat the Wash step after take out.

9.2.8Coloration: Add 50µl solution A and 50µl solution B to each well. Mix gently by shaking the plate manually and incubate for 15 min at 25℃ with cover.(seee 12.7)

9.2.9 Measure: Add 50µl the stop solution to each well. Mix gently by shaking the plate manually and measure the absorbance at 450nm against an air blank (It’s suggested measure with the dual-wavelength of 450/630nm. Read the result within 5min after addition of stop solution. ) (We can also measure by sight without stop solution in short of the ELIASA instrument)

# 10. Results

There are 2 different methods to determinate the results. Method 1 leads to a round estimation, and method 2 leads to definite quantity estimation. (Please notice: the absorption is inversely proportional to the CAP concentration in the sample.)

10.1 Round estimation

We can get the range of different strengths from the compare of average absorption and standards by sight. For example, the absorption of sample 1 is 0.410, sample 2 is 0.920, and the absorptions of CAP standard solutions: 2.160(0ppb) ; 1.710(0.05ppb);1.342(0.15ppb);0.869(0.45ppb);0.431(1.35ppb); 0.183(4.05ppb). So we can say the strength of diluted sample 1 is between 1.35ppb and 4.05ppb; and diluted sample 2 between 0.15ppb to 0.45ppb. In order to obtain the CAP actually contained in a sample, the diluted sample results must be further multiplied by the corresponding dilution multiple.

10.2 Definite quantity estimation

(1) The mean values of the absorbance values obtained for the standards and the samples are divided by the absorbance value of the first standard (zero standard ) and multiplied by 100%. The zero standard is thus made equal to 100% and the absorbance values are quoted in percentages.

B ——absorbance standard (or sample)

B0 ——absorbance zero standard

(2) To draw a standard curve: take the absorbance value of standards as y-axis, semi logarithmic of the concentration of the CAP standards solution (ppb) as x-axis.

--- The CAP concentration of each sample(ppb), which can be read from the calibration curve, is multiplied by the corresponding dilution multiple of each sample followed, and the actual concentration of sample is obtained.

Please notice:

For evaluation of the ELISA kits special software has been developed for exact and rapid analysis. The analysis software can be ordered on request.

Dilution multiple:

Tissue sample:0.5

Serum/plasma sample:1

Urine sample:1

Casing sample:1

Milk sample treated with Method (a) :2

Milk sample treated with Method (b) :0.5

Milk powder sample: 1

Egg samples:2

11. Sensitivity, accuracy and precision

Test Sensitivity: 0.05ppb

Detection limit:

Casing………………………………………0.1ppb

milk…………………………………0.05ppb

urine, serum ,plasma and egg……………………0.1ppb

chicken/chicken liver, pork/pig liver , fish and shrimp……0.05ppb

Accuracy:

chicken/chicken liver, pork/pig liver, fish and shrimp…………… 85±10%

egg………………………………………… 70±10%

milk and milk powder……………………………… 85±10%

casing…………………………………… 70±15%

Precision:

Variation coefficient of the ELISA kit is less than 10%.

# 12. Notice

12.1 The mean values of the absorbance values obtained for the standards and the samples will be reduced if the reagents and samples have not been regulated to room temperature (20-25℃).

12.2 Do not allow microwells to dry between steps to avoid unsuccessful repetitiveness and operate the next step immediately after tap the microwells holder.

12.3 homogenize each reagents before use.

12.4 Don’t use the kits out of date. Don’t exchange the reagents of different batches, or else it will drop the sensitivity.

12.5 Storage condition:

Keep the ELISA kits at 2-8℃,do not freeze. Seal rest microwell plates Avoid straight sunlight for the standard sample and the colorless chromogenic reagent are sensitive to light.

12.6 Indications for the reagents go bad:

Substrate solution should be abandoned if it turns colors.

The reagents may be turn bad if the absorbance value (450/630nm) of the zero standard is less than 0.5(A450nm＜0.5＝.

12.7 The coloration reaction needs 10-15min after adding Solution A and Solution B. And you can prolong the incubation time ranges to 20min  if the color is too light to be determined., never exceed 25min,On the contrary, shorten the incubation time properly.

12.8 The optimal reaction temperature is 25℃. Higher or lower temperature will lead to the changes of sensitivity and absorbance values.

# 13. Storage condition and storage period

Storage condition: 2-8℃.

Storage period: 6 months.