Competitive Enzyme Immunoassay Kit for

Quantitative Analysis of Avermectins (AVMS)

1. Background

Avermectins belongs to macrolide antibiotics, which is broadly applied as an antiparasitic. Due to the expense and complicated process, application of HPLC and GCS in its residue detection is restricted.

This kit is a new product based on ELISA technology, which is fast, easy, accurate and sensitive compared with common instrumental analysis and only needs 1.5 hours in one detection, so it can considerably minimize operation error and work intensity.

2. Test Principle

This kit is based on indirect-competitive ELISA technology. The microtiter wells are coated with coupling antigen.AVMS residue in the sample competes with the antigen coated on the microtiter plate for the antibody. After the addition of enzyme labeled anti-antibody, TMB substrate is used to show the color. Absorbance of the sample is negatively related to the AVMS reside in it, after comparing with the Standard Curve, multiplied by the Dilution factor, AVMS residue quantity in the sample can be calculated.

3. Applications

This kit can be used in quantitative and qualitative analysis of AVMS residue in animal tissue (muscle, liver and aquatic product).

4. Cross-reactions

Avermectins………………………………………100%

Abamectin………………………………………130%

Ivermectin…………………………………….…33%

Doramectin……………………………less than 10%

5. Materials Required

5.1 Equipments

┅┅Microtiter plate spectrophotometer (450nm/630nm)

┅┅Rotary evaporator or nitrogen drying instruments

┅┅Homogenizer or stamocher

┅┅Shaker

┅┅Gyroscope  or vortex mixer

┅┅Centrifuge

┅┅Analytical balance (inductance: 0.01g)

┅┅Graduated pipette: 10ml

┅┅Rubber pipette bulb

┅┅Polystyrene centrifuge tubes: 2ml, 50ml

┅┅glass test tube：10ml

┅┅Micropipettes:20ul~200ul,100ul~10000ul, 250ul-multipipette

5.2 Reagents

┅┅Methanol(AR)

┅┅Acetonitrile (AR)

┅┅Anhydrous sodium sulfate (AR)

┅┅Sep-pak vac12cc(2g) column (For tissue treat method 1)

┅┅Alkalescent alumina(100～200eye) (AR)

┅┅N-hexane(AR)

┅┅Deionized water

6. Kit Components

1.Microtiter plate with 96 wells coated with coupling antigen

2.Standard solutions(6 bottles,1ml/bottle)

0ppb, 0.5ppb, 1.5 ppb, 4.5 ppb, 13.5 ppb, 40.5 ppb

3.High concentration standard control:(1ml/bottle)  1ppm

4.Enzyme-labeled secondary antibody  solution (12ml)…red cap

5.Antibody working fluid(10ml)……………green cap

6.Solution A 7ml …………………………white cap

7.Solution B 7ml ………………………red cap

8.Stop solution 7ml ………………………………yellow cap

9.20×Concentrated wash solution 40m..  transparent cap

10、2×Concentrated extraction solution 50ml…  blue cap

7. Reagents Preparation

Solution 1: wash solution

Dilute 20×Concentrated wash solution with deionized water in the volume ratio of 1: 19, which will be used to wash the plates. This diluted solution can be stored for 1 month at 4℃.

Solution 2: Extraction solution

Dilute 2×concentrated extraction solution with deionized water in the volume ration of 1:1, which will be used to dilute concentrated antibody and samples. This solution can be stored for 1 month at 4℃.

8. Sample Preparations

8.1 Notice and precautions for the users before operation

(a) Please use one-off tips in the process of experiment, and change the tips when absorbing different reagent.

(b) Make sure that all experimental instruments are clean.

(c) Enough shaking and ultrasound time in sample pre-treatment will be critical to the recovery.

(d) For samples rich in fat, try to add more N-hexane, or extract fat with N-hexane repeatedly. This dose not change the final result.

(e) For vegetable samples rich in fiber, extracting directly with acetonitrile will obtain better result.

(f) All samples can not be preserved after extraction.

8.2 Tissue Sample preparations

(a) Beef, cattle liver

┅┅Homogenize the samples with Homogenizer or stamocher;

┅┅Weigh 5.0±0.05g of the homogenate to 50ml Polystyrene centrifuge tube, add 10ml methanol into the tube, whorl for 1min with gyroscope  or vortex mixer, then shake for 10 min with shaker.

┅┅Centrifuge for 10min,at more than 3000g,15℃;

┅┅Take the supernatant 20(l to a 2ml Polystyrene centrifuge tube, dilute it with extraction solution (Solution 2) in volume ratio of 1:9(20(l sample solution and 180(l extraction solution)

┅┅Take 20(l for assay.

(b) Samples rich in fat: Eels and muscle (filtered with column)

┅┅Homogenize the tissue samples with Homogenizer or stamocher;

┅┅Weigh 3.0±0.05g of the homogenate to 50ml Polystyrene centrifuge tube, add 9ml acetonitrile and 3ml N-hexane, shake for 10 min with shaker, and then add 3g anhydrous sodium sulfate, shake for 10min,centrifuge at more than 3000g, 15℃,for 10min,remove the supernatant n-hexane, take 4ml of the substrate extraction solution for standby;

┅┅Take the alkalescent alumina sep-pak vac12cc(2g) column, weigh 3g anhydrous sodium sulfate and tile it on the filter plate, add 10 ml acetonitrile to wash the column. After adding 4ml extraction solution, receive the filtrate, add 4ml acetonitrile to wash the column again and receive the filtrate to a 10ml clean glass test tube together with the filtrate before, blow the filtrate to dry with 50～60℃ nitrogen flow.

┅┅Dilute the dry residue with 1ml extraction solution(Solution 2),then whorl 1min with gyroscope  or vortex mixer, dissolve for 10min with ultrasonic, and after that, whorl it for 1min with gyroscope  or vortex mixer.

┅┅Add 100μl extraction solution(Solution 2) to 100μl dissolved sample solution, then whorl with gyroscope  or vortex mixer it for 30s.

┅┅Take 20μl prepared solution for assay.

(c) Samples low in fat: Shrimp and muscle (not filtered).

┅┅Homogenize the tissue samples with Homogenizer or stamocher;

┅┅Weigh 3.0±0.05g of the homogenate to 50ml Polystyrene centrifuge tube, add 9ml acetonitrile and 3ml N-hexane, shake for 10 min with shaker, and then add 3g anhydrous sodium sulfate, shake for 10min,centrifuge at more than 3000g, 15℃,for 10min;

┅┅Transfer 1ml of the substrate solution to a 10ml clean glass test tube ,blow it to dry with 50～60℃ nitrogen flow.

┅┅Dilute the dry residue with 1ml extraction solution(Solution 2),then whorl 1min with gyroscope  or vortex mixer, dissolve for 10min with ultrasonic, and after that, whorl it for 1min with gyroscope  or vortex mixer.

┅┅Add 100μl extraction solution (Solution 2) to 100μl dissolved sample solution, then whorl with gyroscope  or vortex mixer it for 30s.

┅┅Take 20μl prepared solution for assay.

(d) Samples rich in fat: Eels (not filtered)

┅┅Homogenize the tissue samples with Homogenizer or stamocher;

┅┅Weigh 2.0±0.05g of the homogenate to 50ml Polystyrene centrifuge tube, fully mix it after adding 2ml deionized  water, then add 6ml methanol, shake for 10 min with shaker, centrifuge at more than 3000g, 15℃,for 10min;

┅┅Take 2ml of the supernatant solution to a 10ml clean glass test tube, blow it to dry with 50～60℃ water bath nitrogen flow.

┅┅Dilute the dry residue with 1ml extraction solution(Solution 2) to a 2ml Polystyrene centrifuge tube, then whorl 1min with gyroscope  or vortex mixer, dissolve for 20min with ultrasonic, and after that, whorl it for 1min with gyroscope  or vortex mixer.

┅┅Take 20μl prepared solution for assay.

# 8.3 Vegetable sample preparations:

(a) fresh vegetables: Cabbage, carrot and ginger, etc.

┅┅Homogenize the vegetable samples with Homogenizer or stamocher;

┅┅Weigh 1.0±0.05g of the homogenate to 50ml Polystyrene centrifuge tube, add 5ml N-hexane, shake for 10 min with shaker, centrifuge at more than 3000g,15℃,for 10min.

┅┅Take 1ml of the supernatant solution to a 10ml clean glass test tube, blow it to dry with 50～60℃ water bath nitrogen flow.

┅┅Dilute the dry residue with 1ml extraction solution(Solution 2) ,then whorl 30s with gyroscope  or vortex mixer, dissolve for 10min with ultrasonic, and after that, whorl it for 30s with gyroscope  or vortex mixer.

┅┅Take 20μl prepared solution for assay.

(b) Dried vegetables and samples rich in amylum (dried onion, ketchup and potato)

┅┅Homogenize the vegetable samples with Homogenizer or stamocher;

┅┅Weigh 1.0±0.05g of the homogenate to 50ml Polystyrene centrifuge tube, add 6ml deionized water, get it fully mixed, then add 5ml N-hexane, shake for 10 min with shaker, centrifuge at more than 3000g,15℃,for 10min.

┅┅Take 1ml of the supernatant solution to a 10ml clean glass test tube, blow it to dry with 50～60℃ water bath nitrogen flow.

┅┅Dilute the dry residue with 1ml extraction solution(Solution 2) ,then whorl 30s with gyroscope  or vortex mixer, dissolve for 10min with ultrasonic, and after that, whorl it for 30s with gyroscope  or vortex mixer.

┅┅Take 20μl prepared solution for assay.

9. Assay process

9.1 Notice before assay

9.1.1 Make sure all reagents and microwells are all at room temperature (20-25℃).

9.1.2 Return all the rest reagents to 2～8℃ immediately after used.

9.1.3 Washing the microwells correctly is an important step in the process of assay; it is the vital factor to the reproducibility of the ELISA analysis.

9.1.4 Avoid the light and cover the microwells during incubation.

9.2 Assay Steps

9.2.1 Take all reagents out at room temperature (20-25℃) for more than 30min, homogenize before use.

9.2.2 Get the microwells needed out and return the rest into the zip-lock bag at 2-8℃ immediately.

9.2.3 The diluted wash solution should be rewarmed to be at room temperature before use.

9.2.4 Number: Numbered every microwell positions and all standards and samples should be run in duplicate. Record the standards and samples positions.

9.2.5 Add standard solution/sample: Add 20 µl of standard solution or prepared sample to corresponding wells. Add 80µl antibody solution. Mix gently by rocking the plate manually and incubate for 30min at 37℃ with cover.

9.2.6 Wash: Remove the cover gently and pure the liquid out of the wells and rinse the microwells with 250µl diluted wash solution (solution 1) at interval of 10s for 4~5 times. Absorb the residual water with absorbent paper (the rest air bubble can be eliminated with unused tip).

9.2.7Enzyme-labeled secondary antibody: Add Enzyme-labeled secondary antibody 100(l to each well, Mix gently by rocking the plate manually and incubate for 30min at 37℃ with cover. Repeat the wash step again.

9.2.8 Coloration: Add 50µl solution A and 50µl solution B to each well. Mix gently by rocking the plate manually and incubate for 15min at 37℃ with cover(see 12.8).

9.2.9 Measure: Add 50µl the stop solution to each well. Mix gently by rocking the plate manually and measure the absorbance at 450nm against an air blank (It’s suggested measure with the dual-wavelength of 450/630nm. Read the result within 5min after addition of stop solution. ) (We can also measure by sight without stop solution in short of the ELIASA instrument)

10. Results

There are 2 different methods to determinate the results. Method 1 leads to a round estimation, and method 2 leads to definite quantity estimation. (Please notice: the absorption is inversely proportional to the AVMS concentration in the sample.)

10.1 Round estimation

We can get the range of different strengths from the compare of average absorption and standards by sight. For example, the absorption of sample 1 is 0.601, sample 2 is 1.002, and the absorptions of AVMS standard solutions: 2.043 (0ppb); 1.562(0.5ppb);0.997(1.5ppb); 0.513(4.5ppb); 0.246(13.5ppb); 0.115(40.5ppb). So we can say the strength of diluted sample 1 is between 1.5ppb and 4.5ppb; and diluted sample 2 between 0.5 ppb to 1.5 ppb. In order to obtain the AVMS actually contained in a sample, the diluted sample results must be further multiplied by the corresponding Dilution factor.

10.2 Definite quantity estimation

(1) The mean values of the absorbance values obtained for the standards and the samples are divided by the absorbance value of the first standard (zero standard ) and multiplied by 100%. The zero standard is thus made equal to 100% and the absorbance values are quoted in percentages.

B

Absorbance (%) = —— ×100%

B0

B ——absorbance standard (or sample)

B0 ——absorbance zero standard

(2) To draw a standard curve: Take the absorbance value of standards as y-axis, semi logarithmic of the concentration of the AVMS standards solution (ppb) as x-axis.

--- The AVMS concentration of each sample (ppb), which can be read from the calibration curve, is multiplied by the corresponding Dilution factor of each sample followed, and the actual concentration of sample is obtained.

Please notice:

For evaluation of the ELISA kits special software has been developed for exact and rapid analysis. The analysis software can be ordered on request.

Dilution factor of samples：

Beef, Cattle liver：20

Sample rich in fat (filtered with column) treated with Method (b): 2

Sample low in fat (not filtered) treated with Method (c): 8

Sample rich in fat (not filtered) treated with Method (d): 8

Vegetable Samples treated with Method (a): 5

Vegetable (rich in amylum) Sample treated with Method (b): 5

11. Sensitivity, accuracy and precision

Test Sensitivity: 0.5ppb

Detection limit:

Beef, Cattle liver………………………………10ppb

Sample rich in fat (filtered with column) treated with Method (b)……1ppb

Sample low in fat (not filtered) treated with Method (c)…4ppb

Sample rich in fat (not filtered) treated with Method (d)…4ppb

Vegetable Samples treated with Method (a) …………3ppb

Vegetable (rich in amylum) Sample treated with Method (b): 3ppb

Accuracy

Tissue………………………………………………  70±10%

Vegetable…………………………………………  70±30%

Aquatic product……………………………………  70±10%

# Precision

Variation coefficient of the ELISA kit is less than 10%.

12. Notice

12.1 The mean values of the absorbance values obtained for the standards and the samples will be reduced if the reagents and samples have not been regulated to room temperature (20-25℃).

12.2 Do not allow microwells to dry between steps to avoid unsuccessful reproducibility and operate the next step immediately after tap the microwells holder.

12.3. Homogenize each reagent before using.

12.4. Keep your skin away from the stop solution for it is the 2M H2SO4 solution.

12.5 Don’t use the kits out of date. Don’t exchange the reagents of different batches, or else it will drop the sensitivity.

12.6 Storage condition:

Keep the ELISA kits at 2-8℃,do not freeze. Seal rest microwell plates, Avoid straight sunlight during all incubations. Covering the microtiter plates is recommended.

12.7 Indications for the reagents going bad:

Substrate solution should be abandoned if it turns colors.

The reagents may be turn bad if the absorbance value (450/630nm) of the zero standard is less than 0.5(A450nm＜0.5).

12.8 The coloration reaction need 10-15min after the addition of solution A and solution B; But you can prolong the incubation time ranges from 20min to more if the color is too light to be determined., never exceed 30min,On the contrary, shorten the incubation time properly.

12.9 The optimal reaction temperature is 37℃. Higher or lower temperature will lead to the changes of sensitivity and absorbance values.

13. Storage condition and storage period

Storage condition: 2-8℃.

Storage period: 6 months.