QuantiChromTM Bilirubin Assay Kit (DIBR-180)

Quantitative Colorimetric Bilirubin Determination at 530nm

DESCRIPTION

Samples: transfer 50 RL sample into separate wells, add 200 RL respective Working Reagent (i.e. for total bilirubin and/or direct bilirubin) and 200 RL “Blank” Reagent to the sample wells.

3. Incubate 10 min and read OD530nm (510 to 550nm).

Procedure using Cuvet:

1. Prepare at least 800 RL/well fresh Working Reagent as follows,

Samples: transfer 50 RL sample into separate wells, add 200 RL respective Working Reagent (i.e. for total bilirubin and/or direct bilirubin) and 200 RL “Blank” Reagent to the sample wells.

3. Incubate 10 min and read OD530nm (510 to 550nm).

Procedure using Cuvet:

1. Prepare at least 800 RL/well fresh Working Reagent as follows,

|  | A | B | C | Saline | H2O |
| --- | --- | --- | --- | --- | --- |
| Total | 200 RL | 80 RL | 520 RL | — | — |
| Direct | 200 RL | 80 RL | — | 520 RL | — |
| Blank | 200 RL | — | — | 520 RL | 80 RL |

|  | A | B | C | Saline | H2O |
| --- | --- | --- | --- | --- | --- |
| Total | 200 RL | 80 RL | 520 RL | — | — |
| Direct | 200 RL | 80 RL | — | 520 RL | — |
| Blank | 200 RL | — | — | 520 RL | 80 RL |

2.	Transfer 200 RL H2O and 200 RL Calibrator into two wells of clear-bottom 96-well plate, add 800 RL H2O. Transfer 200 RL sample, add 800 RL Working Reagent.

3.	Incubate 10 min and read OD530nm (510 to 550nm).

CALCULATION

ODSAMPLE - ODBLANK

Bilirubin = OD	X 10 (mg/dL)

CALIBRATOR — ODH20

where ODSAMPLE, ODBLANK, ODCALIBRATOR and ODH2O are the OD530nm

values of the sample, the sample blank, the calibrator and water. 10 (mg/dL) is the equivalent bilirubin concentration of the calibrator.

MATERIALS REQUIRED, BUT NOT PROVIDED

Pipeting devices and accessories, 96-well plates and plate reader.

2.	Transfer 200 RL H2O and 200 RL Calibrator into two wells of clear-bottom 96-well plate, add 800 RL H2O. Transfer 200 RL sample, add 800 RL Working Reagent.

3.	Incubate 10 min and read OD530nm (510 to 550nm).

CALCULATION

ODSAMPLE - ODBLANK

Bilirubin = OD	X 10 (mg/dL)

CALIBRATOR — ODH20

where ODSAMPLE, ODBLANK, ODCALIBRATOR and ODH2O are the OD530nm

values of the sample, the sample blank, the calibrator and water. 10 (mg/dL) is the equivalent bilirubin concentration of the calibrator.

MATERIALS REQUIRED, BUT NOT PROVIDED

Pipeting devices and accessories, 96-well plates and plate reader.

Bilirubin

Bilirubin

0.5

0.5

0.4

0.4

0.3

0.3

0.2

0.2

0.1

0.1

0.0

0.0

0	2	4	6	8	10

0	2	4	6	8	10

0.7

0.7

0.6

0.6

[Bilirubin], mg/dL

Standard Curve with Freshly Prepared Bilirubin in
5g/dL Bovine Serum Albumin in 96-well plate assay

LITERATURE

[1].	Mori L. 1978. Modified Jendrassik--Grof method for bilirubins adapted to the Abbott Bichromatic Analyzer. Clin Chem. 24: 1841-5.

[2].	Garber CC. 1981. Jendrassik--Grof analysis for total and direct bilirubin in serum with a centrifugal analyzer. Clin Chem. 27:1410-6.

[3].	Poon PK. 1981. A Jendrassik-Grof method modified to eliminate hemoglobin interference with assay of total serum bilirubin. Clin Chem. 27:636-7.

[Bilirubin], mg/dL

Standard Curve with Freshly Prepared Bilirubin in
5g/dL Bovine Serum Albumin in 96-well plate assay

LITERATURE

[1].	Mori L. 1978. Modified Jendrassik--Grof method for bilirubins adapted to the Abbott Bichromatic Analyzer. Clin Chem. 24: 1841-5.

[2].	Garber CC. 1981. Jendrassik--Grof analysis for total and direct bilirubin in serum with a centrifugal analyzer. Clin Chem. 27:1410-6.

[3].	Poon PK. 1981. A Jendrassik-Grof method modified to eliminate hemoglobin interference with assay of total serum bilirubin. Clin Chem. 27:636-7.

BILIRUBIN is one of the degradation products of hemoglobin formed when red blood cells die. Bilirubin exists in the insoluble unconjugated form (also indirect bilirubin), or soluble glucuronide conjugated form bilirubin (also direct bilirubin). Conjugated bilirubin moves into the bile canaliculi of the liver and then to the gall bladder. When stimulated by eating, bile (including the conjugated bilirubin) is excreted into the small intestine, where bilirubin is converted into urobilinogen. Bilirubin is a key diagnostic indicator. High levels of bilirubin result when too much hemoglobin is broken down or the removal of bilirubin does not function properly. The accumulation of bilirubin in the body causes jaundice.

Simple and automation-ready procedures for quantitative determination of bilirubin find wide applications in research and drug discovery. BioAssay Systems' bilirubin assay kit is designed to measure bilirubin in blood specimen in 96-well or cuvette formats. The improved JendrassikGrof method utilizes the reaction of bilirubin with diazotized sulfanilic acid, in which a red colored product is formed. The intensity of the color, measured at 510-550nm, is an accurate measure of the bilirubin level in the sample. Total bilirubin is assessed using caffeine benzoate to split bilirubin from the unconjugated bilirubin protein complex.

KEY FEATURES

Sensitive and accurate. Detection limit 0.16 mg/dL bilirubin in 96-well plate assay.

Simple and high-throughput. The procedure involves addition of a single working reagent and incubation for 10 min. Can be readily automated as a high-throughput assay in 96-well plates for thousands of samples per day.

APPLICATIONS:

Direct Assays: total and direct bilirubin in serum or plasma. Pharmacology: effects of drugs on bilirubin metabolism.

KIT CONTENTS (180 tests in 96-well plates)

Reagent A: 30 mL	Reagent B: 10 mL

Reagent C: 30 mL	Saline:	50 mL
Calibrator: 2 mL (equivalent to 10 mg/dL Bilirubin).

Storage conditions. The kit is shipped at room temperature. Store all reagents at 4 °C. Shelf life: at least 6 months (see expiry dates on labels).

Precautions: reagents are for research use only. Normal precautions for laboratory reagents should be exercised while using the reagents. Please refer to Material Safety Data Sheet for detailed information.

PROCEDURES

Hemolysis interferes with the assay. Avoid exposure of sample to any light. Samples can be store at –20°C for up to 3 months, 2–8°C for 4 days. If turbidity is observed, centrifuge sample and use clear supernatant for assay.

Procedure using 96-well plate:

1. Reagent Preparation: prepare at least 200 RL/well fresh Working Reagent as follows,

|  | A | B | C | Saline | H2O |
| --- | --- | --- | --- | --- | --- |
| Total | 50 RL | 20 RL | 130 RL | — | — |
| Direct | 50 RL | 20 RL | — | 130 RL | — |
| Blank | 50 RL | — | — | 130 RL | 20 RL |

“Total Bilirubin” is determined with Working Reagent that contains Reagent C, and “Direct Bilirubin” with Working Reagent that does not contain Reagent C but saline instead.

2. Calibrator: transfer 50 RL H2O and 50 RL Calibrator into two wells of clear-bottom 96-well plate, add 200 RL H2O. The volume in each well 250 RL