QuantiChromTM Heme Assay Kit (DIHM-250)

Colorimetric Determination of Total Heme at 400 nm

DESCRIPTION

2. Transfer 100 RL Calibrator and 1000RL water to cuvet. Read OD at 400nm against water.

CALCULATION

Subtract blank OD (water) from the Calibrator and Sample OD values. The total heme concentration of Sample is calculated as

ODSAMPLE – ODBLANK

=	X 62.5 x n (RM)

'NI-,

1/4./ L./CALIBRATOR – O DBLANK

ODSAMPLE, O DCALIBRATOR and ODBLANK are OD values of the sample,

the Calibrator and water. n is the dilution factor (100 for blood samples).

Conversions: 1mg/dL heme equals 15.3 RM, 0.001% or 10 ppm.

MATERIALS REQUIRED, BUT NOT PROVIDED

Pipeting devices and accessories.

Procedure using 96-well plate:

Clear-bottom 96-well plates (e.g. Corning Costar) and plate reader.

Procedure using cuvette:

Cuvets and spectrophotometer.

EXAMPLES

Heme was determined using the 96-well plate protocol. The values were 27.3± 0.2 RM for rat serum, 7.8 ± 0.4 RM for human plasma and 11.2 ± 0.2 mM for a mouse whole blood sample.

2. Transfer 100 RL Calibrator and 1000RL water to cuvet. Read OD at 400nm against water.

CALCULATION

Subtract blank OD (water) from the Calibrator and Sample OD values. The total heme concentration of Sample is calculated as

ODSAMPLE – ODBLANK

=	X 62.5 x n (RM)

'NI-,

1/4./ L./CALIBRATOR – O DBLANK

ODSAMPLE, O DCALIBRATOR and ODBLANK are OD values of the sample,

the Calibrator and water. n is the dilution factor (100 for blood samples).

Conversions: 1mg/dL heme equals 15.3 RM, 0.001% or 10 ppm.

MATERIALS REQUIRED, BUT NOT PROVIDED

Pipeting devices and accessories.

Procedure using 96-well plate:

Clear-bottom 96-well plates (e.g. Corning Costar) and plate reader.

Procedure using cuvette:

Cuvets and spectrophotometer.

EXAMPLES

Heme was determined using the 96-well plate protocol. The values were 27.3± 0.2 RM for rat serum, 7.8 ± 0.4 RM for human plasma and 11.2 ± 0.2 mM for a mouse whole blood sample.

0.8

0.8

Heme

Heme

0.6

0.6

0.4

0.4

R2 = 0.999

R2 = 0.999

0	20	40	60	80 100

0	20	40	60	80 100

0.2

0.2

0.0

0.0

[Heme], RM

Standard Curve with Freshly Prepared Heme
in 96-well plate assay

LITERATURE

1.	Mingone, C.J. et al (2005). Protoporphyrin IX generation from delta-aminolevulinic acid elicits pulmonary artery relaxation and soluble guanylate cyclase activation. Am J Physiol Lung Cell Mol Physiol 291: L337–L344.

2.	Pamplona, A. et al (2007). Heme oxygenase-1 and carbon monoxide suppress the pathogenesis of experimental cerebral malaria. Nature Med. 13(6): 703-710.

3.	Raghuram, S. et al (2007). Identification of heme as the ligand for the orphan nuclear receptors REV-ERBa and REV-ERBb. Nat Struct Mol Biol. 14(12):1207-13.

[Heme], RM

Standard Curve with Freshly Prepared Heme
in 96-well plate assay

LITERATURE

1.	Mingone, C.J. et al (2005). Protoporphyrin IX generation from delta-aminolevulinic acid elicits pulmonary artery relaxation and soluble guanylate cyclase activation. Am J Physiol Lung Cell Mol Physiol 291: L337–L344.

2.	Pamplona, A. et al (2007). Heme oxygenase-1 and carbon monoxide suppress the pathogenesis of experimental cerebral malaria. Nature Med. 13(6): 703-710.

3.	Raghuram, S. et al (2007). Identification of heme as the ligand for the orphan nuclear receptors REV-ERBa and REV-ERBb. Nat Struct Mol Biol. 14(12):1207-13.

Heme is one important member of the porphyrin family. It is synthesized in both mitochondria and cytoplasm, and is a key prosthetic group for various essential proteins such as hemoglobin, cytochromes, catalases and peroxidases. Heme determination is widely practiced by researchers of various blood diseases.

Simple, direct and automation-ready procedures for measuring heme concentration are becoming popular in Research and Drug Discovery. BioAssay Systems' QuantiChromTM Heme Assay Kit is based on an improved aqueous alkaline solution method, in which the heme is converted into a uniform colored form. The intensity of color, measured at 400 nm, is directly proportional to the heme concentration in the sample. The optimized formulation substantially reduces interference by substances in the raw samples and exhibits high sensitivity.

APPLICATIONS

Direct Assays: total heme in blood, serum, plasma, urine, hemecarrying enzymes.

Pharmacology: effects of drugs on heme metabolism.

Drug Discovery: HTS for drugs that modulate heme levels.

KEY FEATURES

Sensitive and accurate. Linear detection range 0.6 – 125 RM heme in 96-well plate assay.

Simple and high-throughput. The “mix-and-read” procedure involves addition of a single working reagent and reading the optical density. Can be readily automated as a high-throughput assay in 96-well plates for thousands of samples per day.

Safety. Reagents are non-toxic.

Versatility. Assays can be executed in 96-well plate or cuvet.

KIT CONTENTS (250 tests in 96-well plates)

Reagent: 50 mL

Calibrator: 10 mL (equivalent to 62.5 RM heme)

Storage conditions. The kit is shipped room temperature. Store reagent and Calibrator at 4°C. Shelf life: at least 6 months (see expiry dates on labels).

Precautions: reagents are for research use only. Normal precautions for laboratory reagents should be exercised while using the reagents. Please refer to Material Safety Data Sheet for detailed information.

PROCEDURES

Procedure using 96-well plate:

1.	Blank and Calibrator. Pipette 50 RL water (Blank) and 50 RL Calibrator into wells of a clear bottom 96-well plate. Transfer 200 RL water into the blank and Calibrator wells. The diluted calibrator is equivalent to 62.5 RM heme.

2.	Samples. Serum and plasma samples can be assayed directly (n = 1). Blood samples should be diluted 100-fold in distilled water (n = 100).

Transfer 50 RL samples into wells (important: avoid bubble formation during the pipetting steps). Add 200 RL Reagent to sample wells and tap plate lightly to mix.

3.	Incubate 5 min at room temperature. Read OD at 380-420nm (peak 400nm).

Procedure using cuvette:

1. Transfer 100 RL sample and 1000 RL Reagent into a cuvet and tap
lightly to mix. Read OD at 380-420nm (peak 400 nm) against water.