TiterZyme® EIA

human Total Survivin

Enzyme Immunometric Assay Kit

Catalog No. 900-111

96 Well Kit

FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES.

New

Wash Buffer

2

Description

Assay Designs' human Total Survivin TiterZyme® Enzyme Immunometric Assay (EIA) kit is a

complete kit for the quantitative determination of Survivin in serum, plasma, urine, and cell lysates.

Please read the complete kit insert before performing this assay. The kit uses a monoclonal antibody

to Survivin immobilized on a microtiter plate to bind the Survivin in the standards or samples.

A recombinant Survivin Standard is provided in the kit. After a short incubation the excess sample

or standard is washed out and a rabbit polyclonal antibody to Survivin is added. This antibody binds

to the Survivin captured on the plate. After a short incubation the excess antibody is washed out and

goat anti-rabbit IgG conjugated to Horseradish peroxidase is added, which binds to the polyclonal

Survivin antibody. Excess conjugate is washed out and substrate is added. After a short incubation,

the enzyme reaction is stopped and the color generated is read at 450 nm. The measured optical density

is directly proportional to the concentration of Survivin in either standards or samples. For further

explanation of the principles and practices of immunoassays please see the excellent books by Chard1

or Tijssen2.

Introduction

Survivin is a 16.5 kDa protein and the smallest inhibitor of apoptosis (IAP) so far identified. It is

involved in the inhibition of apoptosis and cell division. Survivin expression has been reported at high

levels in embryonic tissues, but at low or non-detectable levels in normal tissue 3. Survivin regulates

the G2/M phase of the cell cycle by associating with the mitotic spindle microtubules and directly

inhibits Caspase-3 and Caspase-7.

Survivin is selectively expressed in the most common human cancers and is associated with clinical

tumor progression4. It has been proposed as a tumor marker for breast cancer, and Survivin expression

has been correlated to clinical outcome in melanoma patients 5,6. Down-regulation or loss of Survivin

is thought to inhibit the growth of tumor cells. Further, it has been indicated that Survivin epitopes may

serve as important targets for anticancer immunotherapy approaches, and that Survivin is a rational

target for apoptosis-based cancer therapy. It has also been proposed that Survivin may be used as a

universal tumor antigen for immunotherapy7.

Precautions

FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES.

1. Stop Solution 2 is a 1N hydrochloric acid solution. This solution is caustic; care should be

taken in use.

2. The activity of the Horseradish peroxidase conjugate is affected by nucleophiles such as

azide, cyanide and hydroxylamine.

3. We test this kit's performance with a variety of buffers, however it is possible that high levels

of interfering substances may cause variation in assay results.

4. The human Survivin Standard provided, Catalog No. 80-1035, should be handled with care

because of the known and unknown effects of Survivin.

3

Materials Supplied

1. Survivin Microtiter Plate, One Plate of 96 Wells, Catalog No. 80-1026

A plate using break-apart strips coated with a mouse monoclonal antibody specific to Survivin.

2. Total Survivin Antibody, 11 mL, Catalog No. 80-1028

A yellow solution of rabbit polyclonal antibody to human Survivin.

3. Assay Buffer 20, 120 mL, Catalog No. 80-1029

4. Total Survivin Conjugate, 11 mL, Catalog No. 80-1324

A blue solution of goat anti-rabbit IgG conjugated to Horseradish peroxidase.

5. Wash Buffer Concentrate, 100 mL, Catalog No. 80-1287

Tris buffered saline containing detergents.

6. human Survivin Standard, 2 each, Catalog No. 80-1035

Two vials containing 500 pg each lyophilized recombinant human Survivin.

7. TMB Substrate, 12 mL, Catalog No. 80-0350

A solution of 3,3',5,5' tetramethylbenzidine (TMB) and hydrogen peroxide. Protect from

prolonged exposure to light.

8. Stop Solution 2, 11 mL, Catalog No. 80-0377

A 1N solution of hydrochloric acid in water. Keep tightly capped. Caution: Caustic.

9. Cell Lysis Buffer 2, 100 mL, Catalog No. 80-1037

1 mM EDTA, 6 M Urea, 0.5% Triton X-100, 0.005% Tween 20 in Phosphate Buffer Saline.

10. Cell Dilution Buffer Concentrate, 1 each, Catalog No. 80-1036

0.137 M sodium chloride, 2.7 mM potassium chloride, 8.1 mM sodium phosphate dibasic,

1.5 mM potassium phosphate dibasic, 1% bovine serum albumin, pH7.3.

11. human Total Survivin Assay Layout Sheet, 1 each, Catalog No. 30-0181

12. Plate Sealer, 3 each, Catalog No. 30-0012

Storage

All components of this kit are stable at 4 C until the kit's expiration date.

Materials Needed but Not Supplied

1. Deionized or distilled water.

2. Precision pipets for volumes between 100 L and 1,000 L.

3. Repeater pipet for dispensing 100 L.

4. Disposable beakers for diluting buffer concentrates.

5. Graduated cylinders.

6. A microplate shaker.

7. Adsorbent paper for blotting.

8. Microplate reader capable of reading at 450 nm, preferably with correction between 570 nm

and 590 nm.

9. Graph paper for plotting the standard curve.

10. Phenylmethyl Sulfonyl Fluoride (PMSF), Sigma #P7626 or equivalent.

11. Protease inhibitor cocktail (PIC), Sigma #P8340 or equivalent.

4

Sample Handling

Assay Designs' TiterZyme® EIA is compatible with human Survivin samples in a wide range of cell

lysates, serum, plasma, urine, and buffers. Samples diluted sufficiently into Assay Buffer 20 plus

Inhibitors (see Reagent Preparation, page 5, #2) can be read directly from a standard curve. Please refer

to the Sample Recovery recommendations on page 11 for details of suggested dilutions.

Samples in the majority of tissue culture media, including those containing fetal bovine serum, can also

be read in the assay, provided the standards have been diluted into the Tissue Culture Media instead

of Assay Buffer 20 plus Inhibitors. There will be a small change in binding associated with running

the standards and samples in media. Users should only use standard curves generated in media or

buffer to calculate concentrations of human Survivin in the appropriate matrix.

It is recommended that all cells be lysed with the provided Cell Lysis Buffer 2 modified by the addition

of PMSF and PIC (see Reagent Preparation, page 5, #4). This buffer is 1 mM EDTA, 6 M Urea, 0.5%

Triton X-100, and 0.005% Tween 20 in Phosphate Buffer Saline. Samples lysed in the provided Cell

Lysis Buffer 2 plus Inhibitors must be diluted 1:6 in Cell Dilution Buffer modified by the addition of

PMSF and PIC (see Reagent Preparation, page 5, #5) prior to further dilution in Assay Buffer 20 plus

Inhibitors.

If the end user chooses to use their own Cell Lysis Buffer, it is up to the end user to determine

the appropriate dilution of samples and assay validation.

Procedural Notes

1. Do not mix components from different kit lots or use reagents beyond the kit expiration date.

2. Allow all reagents to warm to room temperature for at least 30 minutes before opening.

3. The Survivin Standard should not be left at room temperature for extended periods of time.

A maximum of 15 minutes at room temperature is recommended.

4. Standards must be made up in polypropylene tubes.

5. Pre-rinse the pipet tip with reagent, use fresh pipet tips for each sample, standard and reagent.

6. Pipet standards and samples to the bottom of the wells.

7. Add the reagents to the side of the well to avoid contamination.

8. This kit uses break-apart microtiter strips, which allow the user to measure as many samples as

desired. Unused wells must be kept desiccated at 4 C in the sealed bag provided. The wells should

be used in the frame provided.

9. Prior to addition of antibody, conjugate and substrate, ensure that there is no residual wash

buffer in the wells. Any remaining wash buffer may cause variation in assay results.

10. It is important that the matrix for the standards and samples be as similar as possible. Dilute

human Survivin samples with Assay Buffer 20 plus Inhibitors then run with a standard curve

diluted in the same buffer. Tissue Culture samples should be read against a standard curve

diluted in the same complete but non-conditioned media. See Reagent Preparation, step 2.

5

Reagent Preparation

1. Wash Buffer

Prepare the Wash Buffer by diluting 50 mL of the supplied concentrate with 950 mL of deionized

water. This can be stored at room temperature until the kit expiration, or for 3 months, whichever

is earlier.

2. Assay Buffer 20 plus Inhibitors

Immediately prior to use in the assay, PIC and PMSF must be added to the buffer. If using Sigma

Protease Inhibitor Cocktail #P8340, add 0.5 L/mL or equivalent concentration according to

alternate vendor’s specification sheet. Add PMSF, such as Sigma #P7626, to a final concentration

of 1 mM.

This modified Assay Buffer 20 must be used for standard reconstitution and all sample and

standard dilutions (unless Tissue Culture Media is being run as a sample) to ensure optimal

integrity of Survivin. Fresh Assay Buffer 20 plus Inhibitors must be made for each assay.

3. Survivin Standards

Allow the 500 pg/vial human Survivin standard to warm for no more than 10 minutes. Label five

12x75 mm polypropylene tubes #2 through #6. Pipet 500 L of standard diluent (Assay Buffer 20 plus

Inhibitors or Tissue Culture Media) into Survivin Standard vial. Pipet 250 L of standard diluent into

tubes #2 though #6. Add 250 L of the 1,000 pg/mL Standard to tube #2. Vortex thoroughly. Add

250 L of tube #2 to tube #3 and vortex thoroughly. Continue this for tubes #4 through #6.

The concentration of Survivin in the reconstituted human Survivin Standard vial and in tubes

#2 through #6 will be 1,000, 500, 250, 125, 62.5, and 31.25 pg/mL respectively. See Survivin Assay

Layout Sheet for dilution details. Diluted standards should be used within 20 minutes of preparation.

4. Cell Lysis Buffer 2 plus Inhibitors

Allow to come to room temperature. Immediately prior to cell lysis, PMSF and PIC must be added

to the buffer. If using Sigma Protease Inhibitor Cocktail #P8340, add 0.5 L/mL or equivalent

concentration according to alternate vendor’s specification sheet. Add PMSF, such as Sigma

#P7626, to a final concentration of 1 mM.

Fresh Cell Lysis Buffer 2 plus Inhibitors must be made each time the cells are lysed.

5. Cell Dilution Buffer plus Inhibitors

Allow to come to room temperature. Prepare Cell Dilution Buffer for use by diluting 10 mL of

the supplied concentrate with 90 mL of deionized water. Immediately prior to use, PMSF and PIC

must be added to the buffer. If using Sigma Protease Inhibitor Cocktail #P8340, add 0.5 L/mL

or equivalent concentration according to alternate vendor’s specification sheet. Add PMSF, such

as Sigma #P7626, to a final concentration of 1 mM.

Fresh Cell Dilution Buffer plus Inhibitors must be made each time samples are prepared for

use.

6

Assay Procedure

Bring all reagents (with the exception of the Survivin Standard) to room temperature for at

least 30 minutes prior to opening.

All standards, controls and samples should be run in duplicate.

1. Refer to the Assay Layout Sheet to determine the number of wells to be used and put any remaining

wells with the desiccant back into the pouch and seal the ziploc. Store unused wells at 4 C.

2. Pipet 100 L of standard diluent (Assay Buffer 20 plus Inhibitors or Tissue Culture Media) into

the S0 (0 pg/mL standard) wells.

3. Pipet 100 L of Standards #1 through #6 into the appropriate wells.

4. Pipet 100 L of the Samples into the appropriate wells.

5. Tap the plate gently to mix the contents.

6. Seal the plate and incubate at room temperature on a plate shaker for 1 hour at ~500 rpm.

7. Empty the contents of the wells and wash by adding 400 L of wash solution to every well. Repeat

the wash 4 more times for a total of 5 washes. After the final wash, empty or aspirate the wells

and firmly tap the plate on a lint free paper towel to remove any remaining wash buffer.

8. Pipet 100 L of yellow Antibody into each well, except the Blank.

9. Seal the plate and incubate at room temperature on a plate shaker for 1 hour at ~500 rpm.

10. Empty the contents of the wells and wash by adding 400 L of wash solution to every well. Repeat

the wash 4 more times for a total of 5 washes. After the final wash, empty or aspirate the wells

and firmly tap the plate on a lint free paper towel to remove any remaining wash buffer.

11. Add 100 L of blue Conjugate to each well, except the Blank.

12. Seal the plate and incubate at room temperature on a plate shaker for 30 minutes at ~500 rpm.

13. Empty the contents of the wells and wash by adding 400 L of wash solution to every well. Repeat

the wash 4 more times for a total of 5 washes. After the final wash, empty or aspirate the wells

and firmly tap the plate on a lint free paper towel to remove any remaining wash buffer.

14. Pipet 100 L of Substrate Solution into each well.

15. Incubate for 30 minutes at room temperature on a plate shaker at ~500 rpm.

16. Pipet 100 L Stop Solution 2 to each well. This stops the reaction and the plate should be read

immediately.

17. Blank the plate reader against the Blank wells, read the optical density at 450 nm, preferably with

correction between 570 and 590 nm. If the plate reader is not able to be blanked against the Blank

wells, manually subtract the mean optical density of the Blank wells from all the readings.

7

Calculation of Results

Several options are available for the calculation of the concentration of Survivin in the samples. We

recommend that the data be handled by an immunoassay software package utilizing a

4 parameter logistic curve fitting program. If data reduction software is not readily available, the

concentration of Survivin can be calculated as follows:

1. Calculate the average net Optical Density (OD) bound for each standard and sample by

subtracting the average Blank OD from the average OD for each standard and sample.

Average Net OD = Average OD - Average Blank OD

2. Using linear graph paper, plot the Average Net OD for each standard versus Survivin

concentration in each standard. Approximate a straight line through the points. The

concentration of Survivin in the unknowns can be determined by interpolation.

Typical Results

The results shown below are for illustration only and should not be used to calculate results from

another assay.

Survivin

Sample Average OD Net OD (pg/mL)

Blank 0.090

S0 0.167 0.077 0

S1 3.011 2.921 1,000

S2 1.516 1.426 500

S3 0.734 0.644 250

S4 0.430 0.340 125

S5 0.273 0.183 62.5

S6 0.224 0.134 31.25

Unknown #1 2.094 2.004 693

Unknown #2 0.355 0.265 89.1

8

Typical Standard Curve

A typical standard curve is shown below. This curve must not be used to calculate Survivin

concentrations; each user must run a standard curve for each assay.

human Survivin Conc. (pg/mL)

Optical Density

9

Performance Characteristics

The following parameters for this kit were determined using the guidelines listed in the National

Committee for Clinical Laboratory Standards (NCCLS) Evaluation Protocols8.

Sensitivity

Sensitivity was calculated by determining the average optical density bound for sixteen (16) wells run

with 0 pg/mL Standard, and comparing to the average optical density for sixteen (16) wells run with

Standard #6. The detection limit was determined as the concentration of human Survivin measured

at two (2) standard deviations from the 0 pg/mL Standard along the standard curve.

Mean OD for S0 = 0.081 0.003 (3.3%)

Mean OD for Standard #6 = 0.133 0.005 (4.0%)

Delta Optical Density (31.25 - 0 pg/mL) = 0.133- 0.081= 0.052

2 SD's of 0 pg/mL Standard = 2 x 0.003 = 0.006

Sensitivity = 0.006 x 31.25 pg/mL = 3.6 pg/mL

0.052

Linearity

A sample containing 464.1 pg/mL human Survivin was serially diluted 4 times 1:2 in the Assay Buffer

20 supplied in the kit and measured in the assay. The data was plotted graphically as actual Survivin

concentration versus measured Survivin concentration.

The line obtained had a slope of 0.966 with a correlation coefficient of 0.999.

10

Precision

Intra-assay precision was determined by taking samples containing low, medium and high concentrations

of human Survivin and running these samples multiple times (n=16) in the same assay. Interassay

precision was determined by measuring three samples with low, medium, and high concentrations

of Survivin in multiple assays (n=11).

The precision numbers listed below represent the percent coefficient of variation for the concentrations

of human Survivin determined in these assays as calculated by a 4 parameter logistic curve fitting

program.

Survivin Intra-assay Inter-assay

(pg/mL) % CV % CV

Low 117 2.4

Medium 217 1.3

High 693 1.8

Low 142 15.9

Medium 278 17.5

High 700 5.9

Cross Reactivities.

The human Total Survivin TiterZyme® EIA kit is specific for human Survivin. There is less than 0.1%

cross-reactivity with human MEK-1, pJNK, p300, Granzyme B, Caspase-3, or Caspase-9.

We are currently evaluating cross-reactivities of rat and mouse Survivin in this kit. Contact us for

suitability of applications to these sample types.