Quantitative Colorimetric Determination of Cholesterol at 340 nm

DESCRIPTION

CHOLESTEROL is a sterol and lipid present in the cell membranes, and is transported in the bloodstream of all animals. It is used to form cell membranes and hormones, and plays important roles in cell signaling processes. Elevated levels (hypercholesterolemia) have been associated with cardiovascular diseases such as atherosclerosis; whereas, low levels (hypocholesterolemia) may be linked to depression, cancer and cerebral hemorrhage.

Simple, direct and automation-ready procedures for measuring cholesterol are very desirable. BioAssay Systems' EnzyChromTM Cholesterol Assay is based on cholesterol esterase hydrolysis of cholesterol esters to form free cholesterol and cholesterol dehydrogenase catalyzed conversion of cholesterol to cholest-4-ene3-one, in which NAD is reduced to NADH. The optical density of the formed NADH at 340 nm is directly proportionate to the cholesterol concentration in the sample.

APPLICATIONS

Direct Assays: cholesterol in serum, plasma, and other biological samples.

Pharmacology: effects of drugs on cholesterol metabolism.

KEY FEATURES

Sensitive and accurate. Detection limit of 5 mg/dL, linearity up to 300 mg/dL cholesterol in 96-well plate assay.

Convenient. Room temperature assay. No 37°C heater is needed. High-throughput. Can be readily automated as a high-throughput 96- well plate assay for thousands of samples per day.

KIT CONTENTS (100 tests in 96-well plates)

Assay Buffer: 12 mL	Enzyme Mix: 120 uL

NAD Solution: 2 x 1 mL Standard: 1 mL 300mg/dL cholesterol

Storage conditions. Store reagents at -20°C. Shelf life of at least 6 months (see expiry dates on labels).

Precautions: reagents are for research use only. Normal precautions for laboratory reagents should be exercised while using the reagents. Please refer to Material Safety Data Sheet for detailed information.

PROCEDURES

Important: bring all reagents to room temperature prior to assay. Serum and plasma samples should be clear and free of turbidity or precipitates. If present, precipitates should be removed by filtration or centrifugation in a table centrifuge. If not assayed immediately, samples can be stored at -20 to -80°C for at least one year.

1. Standard Curve. Prepare a 10-fold diluted standard (STD) by mixing 40 11,L 300 mg/dL Standard and 360 11,L Assay Buffer. Further dilute standard (STD) in Assay Buffer as shown below.

| No | STD + Assay Buffer | Vol (11,L) | 10 x Conc. (mg/dL) |
| --- | --- | --- | --- |
| 1 | 10011,L + 011,L | 100 | 300 |
| 2 | 8011,L + 2011,L | 100 | 240 |
| 3 | 6011,L + 4011,L | 100 | 180 |
| 4 | 4011,L + 6011,L | 100 | 120 |
| 5 | 3011,L + 7011,L | 100 | 90 |
| 6 | 2011,L + 8011,L | 100 | 60 |
| 7 | 1011,L + 9011,L | 100 | 30 |
| 8 | 011,L + 10011,L | 100 | 0 |

Transfer 50 11,L diluted standards into wells of the 96-well plate.

Samples: dilute samples 10-fold (e.g. 10 11,L sample with 90 11,L Assay Buffer). Transfer 50 11,L diluted sample in separate wells.

2.	Prepare enough NAD solution in Assay Buffer as follows: for each reaction well, mix 40 11,L Assay Buffer with 18 11,L the provided NAD Solution.

Add 50 11,L of diluted NAD to standards and sample wells. Tap plate to mix well.

Let stand 5 min at room temperature. Read background optical density at 340nm (ODo).

3.	Prepare enough enzyme mix as follows: for each reaction well, mix 10 11,L Assay Buffer with 1 11,L provided Enzyme Mix. Add 10 11,L diluted enzyme mix per well. Tap plate to mix thoroughly. Note: the enzyme mix may appear to be turbid, but will be clear after mixing into the reaction mixture.

4.	Incubate 30 min at room temperature. Read OD30 at 340nm.

5.	Calculation. Subtract OD0 from OD30 for the standard and sample wells. Use the AOD values to determine sample cholesterol concentration from the standard curve. Note: since both the standards and samples were diluted 10-fold, no dilution factor is required.

Note: if the sample OD value is higher than OD for the 300 mg/dL standard, dilute sample in water and repeat the assay. Multiply the results by the dilution factor.

MATERIALS REQUIRED, BUT NOT PROVIDED

Pipetting (multi-channel) devices, clear bottom 96-well plate and plate reader.

EXAMPLES

Samples were run in duplicate according to the standard procedure. The cholesterol concentrations (mg/dL) were 105 ± 3 for a human serum, 155 ± 11 for human plasma, 157 ± 2 for a bovine serum, 68 ± 2 for a rat serum, 129 ± 3 for a mouse serum, 123 ± 2 for a goat serum sample.

0.6

0.6

Cholesterol

Cholesterol

0.4

0.4

0.2

0.2

0.0

0.0

0	100	200	300

0	100	200	300

[Cholesterol], mg/dL

Standard Curve in 96-well plate assay

LITERATURE

[1].	Kayamori, Y. et al (1999) Endpoint Colorimetric Method for Assaying Total Cholesterol in Serum with Cholesterol Dehydrogenase. Clin. Chem. 45: 2158-2163.

[2].	Sundvall J, Leiviska J, Alfthan G, Vartiainen E. (2007). Serum cholesterol during 27 years: assessment of systematic error and affecting factors and their role in interpreting population trends. Clin Chim Acta. 378:93-98.

[3].	Demacker PN, Hijmans AG, van Sommeren-Zondag DF, Jansen AP. (1982). Stability of frozen liquid control sera for assay of cholesterol in high-density lipoprotein. Clin Chem. 28:155-157.